## Report
V6.4
| Project #: | 0 | [9 empty] | Date: | 0
| Builder: | 0
| Project Name: | 0 | [9 empty] | Designer: | 0
THIS SPREADSHEET SHOULD BE ATTACHED TO THE DUCT LAYOUT FOR THE INSTALLER
NOTES TO INSTALLER:
1. CONTACT DUCT DESIGNER FOR MAJOR DISCREPANCIES OF SMART DUCT LENGHTS OR POSITIONS
2. THIS SYSTEM MUST BE INSTALLED ACCORDING TO THE INSTRUCTIONS IN THE SMART DUCT MANUAL X40240.
3. EQUIPMENT SIZING IS DETERMINED BY THE HEATING/COOLING LOADS PROVIDED TO DETTSON.
4. DETTSON RECOMMENDS HEATING/COOLING LOADS BE CALCULATED USING F280-12 (Canada) OR MANUAL J (US).
5. THE DRAWINGS SHOWS SUPPLY DUCTS ONLY. IF NOTED, RETURN GRILLS POSITIONS ARE FOR SUGGESTION ONLY
6. CONTRACTOR SHALL PROVIDE THE DESIGN FOR THE RETURN DUCTS ACCORDING TO ASHRAE FUNDAMENTALS AND ACCA MANUAL D.
7. CONTRACTOR SHALL CHOOSE THE POSITION OF THE THERMOSTAT CAREFULLY ALONG THE BEST PRACTICE.
EQUIPMENT
| Indoor Unit | [6 empty] | Outdoor Unit
| Model: | #NAME? | [5 empty] | Model: | #N/A
| Description: | #NAME? | [5 empty] | Description:
| Orientation: | Upflow | [5 empty] | Max CFM: | 0
| Max. heating capacity (BTU/h) |  |  | #NAME?
| Min. heating capacity (BTU/h) |  |  | #NAME? |  |  |  |  | Important Settings:
| Max. CFM |  |  | #NAME? |  |  |  |  | CFM/ton: | 400
| Max. CFM (heating) |  |  | #NAME?
| Min. CFM (heating) |  |  | #NAME?
Important Settings:
:
[8 empty] | Zoning | Number of zone(s): |  | 1
HVAC in a Box BILL OF MATERIAL: Right-Sized System in combination to the Smart Duct
| Product |  |  | Product Code |  | Qty |  | Description
| Air Handler |  |  | C15-M-V |  | 1 |  | Chinook 15,000 BTU modulating, 1/2 HP, 95% AFUE, 40 to 100% modulating
| Thermostat |  |  | R02P032 |  | 1 |  | Communicating Thermostat
| Smart Duct 15' |  |  | Z13I012 |  | 1 |  | 15ft of flex duct 2.5 dia.
| Bottom return furnace base (optional) |  |  | B40691-01 |  | 1 |  | Bottom Return Base
* NOTE: FREIGHT CHARGES WILL BE ADDED TO THE ORDER.
PACKAGING OF THE FLEX DUCT MATERIAL IS IN BOXES OF EIGHT (8) LENGTHS X 15 OR 25FT. SHIPPING ORDERS ARE MULTIPLES OF EIGHT (8).
For saddles, Smart ducts, collars and diffusors, 10% more matl is added than required in case of damaged material on job site.
DESIGN
| Length of each cut = total used --> loss | [5 empty] | Trunk | Diameter | Total CFM | Max CFM/trunk | Length (feet) | Elbow (90°) | Elbow (45°) | Equivalent length
| Heat loss | 0 |  |  | Zoning System |  |  |  | Max system CFM | #NAME? |  | Approx # diffusers |  | #NAME?
| Heat gain | 0 |  |  | CFM Max @Low |  | 0 |  |  |  |  | Real # diffusers |  | 0
| CFM/BTU (Cool): | 0 | Out Heat |  | #NAME? |  | Nom. Calc. CFM
| CFM/BTU (Heat): | #NAME? | Out Cool |  | #N/A
|  | Load (BTU/h) | [7 empty] | Air distribution
|  | Heating design | Heating real | Heating Ratio |  | Cooling design |  | Cooling real | Cooling Ratio | CFM Heat design | CFM Cool design | Main trunk | Flex length (') | Blocked diffuser (y or n)
Floor name or Zone 1
| Total | 0 | 0 | #DIV/0! |  |  | 0 | 0 |  |  | 0 | 0 | 0 | 0
Note on P91: Write ''y'' when no CFM for this diffuser is to be considered. In that case, a diffuser restrictor (B40701) should cover the hole of the diffuser. It can eventually be removed or openned to a smaller diameter to adjust to a more precise comfort CFM

## Options
Date
Projet #
Constructeur
Nom du projet
Designer
Perte de chaleur totale |  | BTU/hr
Gain de chaleur total |  | BTU/hr
Unité intérieure |  |  | Unité extérieure
Type | Gas (modulating) |  | Type | LPD
Orientation | Upflow |  | CFM/Tonne | 400
Compact | No |  | Primary Heat | Yes
Rise (°F) | 65
Zonage
# de zones | 1
Cooling % | 100%
Options Smart Duct |  |  |  | 6'' | 8''
Selles | 90° | → | 45° Qty:
Colliers | Black | → | White Qty:
Notes

## Design
| Heat loss | 0 |  | Zoning System |  |  | Max system CFM | #NAME? |  |  |  |  | Approx # diffusers |  | #NAME?
| Heat gain | 0 |  | CFM Max @Low | 0 |  | Total CFM | 0 |  |  |  |  | Real # diffusers |  | 0
| CFM/BTU (Cool): | 0 | Out Heat | #NAME? | Nom. Calc. CFM | 0
| CFM/BTU (Heat): | #NAME? | Out Cool | #N/A
|  | Load (BTU) | [5 empty] | Air distribution
|  | Heating design | Heating real | Heating Ratio | Cooling design | Cooling real | Cooling Ratio | CFM Heat design | CFM Cool design | Main trunk | Flex length (') | Nominal calculated CFM | Max design CFM | Proposed nb of diffusers | Real nb of diffusers | Blocked diffuser (y or n) | Saddle
0 | Floor name or Zone 1
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Total floor or zone 1 | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | #NAME? | 0 |  |  | 0 | #NAME? | #NAME? | 0
0 | Floor name or Zone 2
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Total floor or zone 2 | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | #NAME? | 0 |  |  | 0 | #NAME? | #NAME? | 0
0 | Floor name or Zone 3
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Total floor or zone 3 | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | #NAME? | 0 |  |  | 0 | #NAME? | #NAME? | 0
0 | Floor name or Zone 4
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Room name |  | 0 | #DIV/0! |  | 0 | #DIV/0! | #NAME? | 0 |  |  |  | #NAME? | #NAME? | 0
diffusers
| Total floor or zone 4 | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | #NAME? | 0 |  |  | 0 | #NAME? | #NAME? | 0
TOTALS
| Total sensible | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0!
Latent
0 | Total | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | #NAME? | 0 |  | 0 | 0 | #NAME? | #NAME? | 0
| Trunk | Diameter | TOTAL CFM | Max CFM/trunk | Length (feet) | Elbow (90°) | Elbow (45°) | Equivalent length
| 1 |  | 0 |  |  |  |  | 0
| 2 |  | 0 |  |  |  |  | 0
| 3 |  | 0 |  |  |  |  | 0
| 4 |  | 0 |  |  |  |  | 0
| 5 |  | 0 |  |  |  |  | 0
| 6 |  | 0 |  |  |  |  | 0
| 7 |  | 0 |  |  |  |  | 0
| 8 |  | 0 |  |  |  |  | 0
| 9 |  | 0 |  |  |  |  | 0 | [7 empty] | .
Note on C8: Enter room per room loads
Note on E8: Ratio of real over design
Note on F8: Enter room per room loads
Note on H8: Ratio of real over design
Note on K8: Trunk number. To verify the max cfm per trunk. See table below.
Note on M8: Adjusted CFM for the lenght of flex: CFM=42.654e-0.021L Where L is flex lenght in feet. Min = 7' Max = 25'
Note on M175: FOR ZONING SYSTEM ONLY: This cell turns red when total calculated CFM for this zone is lower of more than 10 CFM than CFM max @ low capacity (cell F3). In this case add 1 diffuser to the lowest ratio room. This cell turns orange when total calculated CFM for this zone is higher of 30 than CFM max @ low capacity (cell F3). In this case subtract 1 diffuser to the highest ratio room.
Note on M342: FOR ZONING SYSTEM ONLY: This cell turns red when total calculated CFM for this zone is lower of more than 10 CFM than CFM max @ low capacity (cell F3). In this case add 1 diffuser to the lowest ratio room. This cell turns orange when total calculated CFM for this zone is higher of 30 than CFM max @ low capacity (cell F3). In this case subtract 1 diffuser to the highest ratio room.
Note on M509: FOR ZONING SYSTEM ONLY: This cell turns red when total calculated CFM for this zone is lower of more than 10 CFM than CFM max @ low capacity (cell F3). In this case add 1 diffuser to the lowest ratio room. This cell turns orange when total calculated CFM for this zone is higher of 30 than CFM max @ low capacity (cell F3). In this case subtract 1 diffuser to the highest ratio room.
Note on M676: FOR ZONING SYSTEM ONLY: This cell turns red when total calculated CFM for this zone is lower of more than 10 CFM than CFM max @ low capacity (cell F3). In this case add 1 diffuser to the lowest ratio room. This cell turns orange when total calculated CFM for this zone is higher of 30 than CFM max @ low capacity (cell F3). In this case subtract 1 diffuser to the highest ratio room.
Note on M680: This cell turns red when total calculated CFM is lower of more than 20 CFM than Max system CFM (cell I2). In this case add 1 diffuser to the lowest ratio room. This cell turns orange when total calculated CFM is higher of 30 than Max system CFM (cell I2). In this case subtract 1 diffuser to the highest ration room, except when zoned system and TOTAL zone CFM cells are red.
Note on N8: Max of heating or cooling design CFM
Note on Q8: Write ''y'' when no CFM for this diffuser is to be considered. In that case, a diffuser restrictor (B40701) should cover the hole of the diffuser. It can eventually be removed or openned to a smaller diameter to adjust to a more precise comfort CFM

## _EquipmentData (hidden)
WARNING: DO NOT EDIT ANY OF THE CELLS IN THIS SHEET UNLESS YOU KNOW WHAT YOU ARE DOING
|  |  |  | MAX BTU FOR SMALL COIL |  | 40000 | [9 empty] | Chinook |  | Chinook |  | Chinook
| FURNACE | [6 empty] | COND | [7 empty] | BOTTOM RETURN BASE |  | DOWNFLOW BASE |  | COOLING COIL BASE |  |  | ZONING |  | DIST BOX |  | INDOOR UNIT INFO |  | THERMOSTAT
GAS | Chinook gas furnace | Max. Heating capacity (BTU/h) | Max CFM (1.7'' w.c.) | Max CFM (heating) | Min. Heating capacity (BTU/h) | Lowest CFM (heating) |  | CHINOOK COILS |  |  | Coil Vertical | Coil Multiposition | Coil description |  | Evaporator support | [9 empty] | B40878-03 | CC15 Distribution Box
| CC15-M-V | 14445 | 400 | 400 | 5778 | 160 | Chinook Compact 15,000 BTU modulating, 1/3 HP, 95% AFUE, 40 to 100% modulating |  |  |  | CC1.5-13.5-V | CC1.5-13.5-M | Indoor cooling coil; 1.5 Ton |  | B40693-01 | B40691-01 | #NAME? | B40632-01 | #NAME? | B40693-01 | #NAME? |  | B40775 | 2 zones | B40878-01 | C15-C45 Distribution Box | Output | #NAME? | R02P032 | Communicating Thermostat | 1
| C15-M-V | 14595 | 800 | 310 | 5838 | 310 | Chinook 15,000 BTU modulating, 1/2 HP, 95% AFUE, 40 to 100% modulating |  |  |  | CC1.5-13.5-V | CC1.5-13.5-M | Indoor cooling coil; 1.5 Ton |  | B40693-01 | B40691-02 | #NAME? | B40632-02 | #NAME? | B40693-02 | #NAME? |  | B40776 | 3 zones | B40878-02 | C60-C75 Distribution Box |  |  | R02P033 | Two stage WiFi Thermostat | 0
| C15-M-S | 14595 | 1000 | 310 | 5838 | 310 | Chinook 15,000 BTU modulating, 3/4 HP, 95% AFUE, 40 to 100% modulating |  |  |  | CC1.5-13.5-V | CC1.5-13.5-M | Indoor cooling coil; 1.5 Ton |  | B40693-01 |  |  |  |  | B40829 |  |  | B40777 | 4 zones
| C30-M-V | 28860 | 800 | 480 | 11544 | 310 | Chinook 30,000 BTU modulating, 1/2 HP, 95% AFUE, 40 to 100% modulating |  |  |  | CC2.5-15,7-V | CC2.5-15.7-M | Indoor cooling coil; 2.5 Ton |  | B40693-02 | [11 empty] | OutputFinal | #NAME?
| C30-M-S | 28860 | 1200 | 480 | 11544 | 385 | Chinook 30,000 BTU modulating, 3/4 HP, 95% AFUE, 40 to 100% modulating |  |  |  | CC2.5-15,7-V | CC2.5-15.7-M | Indoor cooling coil; 2.5 Ton |  | B40693-02
| C45-M-V | 43515 | 800 | 720 | 17406 | 330 | Chinook 45,000 BTU modulating, 1/2 HP, 95% AFUE, 40 to 100% modulating |  |  |  | CC3.0-15,7-V | CC3.0-15,7-M | Indoor cooling coil; 3 Ton |  | B40693-02 | [10 empty] | C15 | Idu CFM (heat) | #NAME?
| C45-M-S | 43515 | 1200 | 720 | 17406 | 330 | Chinook 45,000 BTU modulating, 3/4 HP, 95% AFUE, 40 to 100% modulating | [13 empty] | #N/A |  |  |  |  | C30
| C60-M-S | 58080 | 1200 | 1025 | 23232 | 430 | Chinook 60,000 BTU modulating, 3/4 HP, 95% AFUE, 40 to 100% modulating | [18 empty] | C45 | SmartDuct Airflow Adjustment | 1
| C75-M-V | 72000 | 1200 | 1200 | 28800 | 480 | Chinook 75,000 BTU modulating, 3/4 HP, 95% AFUE, 40 to 100% modulating
[11 empty] | Compact Coil | CC1.0-10-M | Indoor cooling coil; 1.0 Ton | [12 empty] | C60 |  |  | Result: | R02P032
[26 empty] | C75 |  |  |  | Communicating Thermostat
[23 empty] | WITH ZONING: | FALSE | [5 empty] | 1
[23 empty] | CFM low heating | 0
[8 empty] | SUPREME COILS | [7 empty] | SUP BTM RETRUN BASE |  | SUP DOWNFLOW BASE |  |  |  |  | CFM Low cooling | 0 | B40878-03 | SUP Compact Distribution Box
ELEC | SUPC00-M240V8 | 0 | 600 | 0 |  |  | Supreme Compact 0kW modulating, 1/3 HP ECM Motor | [15 empty] | CFM Max @Low | 0 | B40878-04 | SUP Distribution box
| SUPC05-M240V8 | 17060 | 600 | 238.4615 |  |  | Supreme Compact 5kW modulating, 1/3 HP ECM Motor |  |  |  | CC1.5-S-V | CC1.5-S-M | Indoor cooling coil; 1.5 Ton |  |  | B04452 |  | DFB-SUP
| SUPC10-M240V8 | 34120 | 600 | 476.9231 |  |  | Supreme Compact 10kW modulating, 1/3 HP ECM Motor |  |  |  | CC1.5-S-V | CC1.5-S-M | Indoor cooling coil; 1.5 Ton | [11 empty] | B40878-02 | HydroMax Distribution Box
| SUP10-M240V12 | 34120 | 1000 | 476.9231 |  |  | Supreme 10kW modulating, 1/2 HP ECM Motor |  |  |  | CC1.5-S-V | CC1.5-S-M | Indoor cooling coil; 1.5 Ton
| SUP15-M240V12 | 51180 | 1000 | 715.3846 |  |  | Supreme 15kW modulating, 1/2 HP ECM Motor |  |  |  | CC2.5-S-V | CC2.5-S-M | Indoor cooling coil; 2.5 Ton
| SUP18-M240V12 | 61416 | 1000 | 858.4615 |  |  | Supreme 18kW modulating, 1/2 HP ECM Motor |  |  |  | CC2.5-S-V | CC2.5-S-M | Indoor cooling coil; 2.5 Ton
| SUP20-M240V12 | 68240 | 1000 | 953.8462 |  |  | Supreme 20kW modulating, 1/2 HP ECM Motor |  |  |  | CC3.0-S-V | CC3.0-S-M | Indoor cooling coil; 3 Ton
| SUP20-M240V20 | 68240 | 1600 | 953.8462 |  |  | Supreme 20kW modulating, 1 HP ECM Motor
| SUP23-M240V12 | 78476 | 1000 | 1096.9231 |  |  | Supreme 23kW modulating, 1/2 HP ECM Motor
| SUP23-M240V20 | 78476 | 1600 | 1096.9231 |  |  | Supreme 23kW modulating, 1 HP ECM Motor
| SUP25-M240V12 | 85300 | 1000 | 1192.3077 |  |  | Supreme 25kW modulating, 1/2 HP ECM Motor
| SUP25-M240V20 | 85300 | 1600 | 1192.3077 |  |  | Supreme 25kW modulating, 1 HP ECM Motor
| SUP27-M240V20 | 92124 | 1600 | 1287.6923 |  |  | Supreme 27kW modulating, 1 HP ECM Motor
| SUP30-M240V20 | 102360 | 1600 | 1430.7692 |  |  | Supreme 30kW modulating, 1 HP ECM Motor
[16 empty] | Compact |  | FURNACE TYPE |  | COND TYPE |  |  | Yes/No options
DCAH | DCAHM-36-1 | 36000 | 1100 | 503.2014 |  |  | DCAH 36,000 BTU/h | Heat Gain (All-electric) |  |  | 0 | [11 empty] | No
| DCAHM-55-1 | 55000 | 1400 | 768.7799 |  |  | DCAH 55,000 BTU/h | Final Heat Gain (Adj for Zoning) |  |  | 0 |  | WITH COOL: | FALSE |  |  |  | Gas (modulating) |  | Alizé | 1 | Alizé | Yes
[16 empty] | Allowed | FALSE | Gas (2 stages) |  | OCD | 2 | OCD
[8 empty] | Select multi-pos coil |  |  | #N/A |  | Selected coil description | #N/A |  |  |  | Electric |  | LPD | 3 | LPD
[8 empty] | Select vertical coil |  |  | #N/A |  | Check Compact coil description | #N/A |  | Model to select: |  | HydroMax |  | UHD | 4 | UHD | SADDLES | COLLARS
Modular | MM08 | 99999 | 800 | 800 |  |  | Modular Blower 800CFM | Select coil based on orientation | [7 empty] | #NAME? | [6 empty] | 90° | Black
| MM12 | 99999 | 1200 | 1200 |  |  | Modular Blower 1200CFM | Coil capacity: | [14 empty] | 45° | White
[8 empty] | Reconstructed coil code (13.5) |  |  | CC-13.5- |  |  |  |  | Compact Selected: | FALSE | [5 empty] | Mixed | Mixed
[8 empty] | Reconstructed coil code (15.7) |  |  | CC-15.7- | [6 empty] | Gas Selected: | TRUE | Types Permis | Index | Liste finale
Select coil with proper size
Select if electric
Chinook | Furnace Model | Max. Heating capacity (BTU/h) | Max CFM (1.7'' w.c.) | Max CFM (heating) | Min. Heating capacity (BTU/h) | CFM Low heating (70%) | Description | [5 empty] | FURNACE SELECTION
2V | [7 empty] | COND selection |  |  | #N/A | #N/A | Model # matching heat loss | 1 |  | Settings |  | Furnace Orientation
[8 empty] | Capacity (kbtu) |  |  | #N/A |  | Model Line # | 72
GAS | C30-2-V | 28890 | 800 | 590 | 20223 | 415 | Chinook 30,000 BTU 2 Stages, 1/2 HP, 95% AFUE | Min COND for 60/75k |  |  | #N/A | #N/A | Model selected | C15-M-V |  | Max Power | 0 | Upflow
| C45-2-V | 43200 | 863 | 730 | 30240 | 510 | Chinook 45,000 BTU 2 Stages, 1/2 HP, 95% AFUE | Model Selection if Gas |  |  | #N/A |  | Next Model # matching cool CFM | #NAME? |  | Heat Fan Ratio | 0.35 | Horizontal
| C60-2-V | 57420 | 1380 | 1000 | 40194 | 690 | Chinook 60,000 BTU 2 Stages, 3/4 HP, 95% AFUE | COND capacity |  |  | #N/A |  | Model selection | #NAME? |  |  |  | Downflow
| C75-2-V | 71925 | 1400 | 1200 | 50348 | 830 | Chinook 75,000 BTU 2 Stages, 3/4 HP, 95% AFUE | CFM Cond |  |  | 0
[8 empty] | Max System CFM |  |  | #NAME? |  | With compact: | 1
[13 empty] | Model Line # | 71
[13 empty] | Model Selected | CC15-M-V |  | RISE
[13 empty] | Next Model # matching cool CFM | #NAME?
[13 empty] | Model Selection | #NAME?
[16 empty] | Using SETTINGS | FALSE
RESULT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [8 empty] | BOTTOM RETURN BASE |  | DOWNFLOW BASE |  | COOLING COIL BASE |  |  | ZONING KIT
| CC15-M-V | 14445 | 400 | 400 | 5778 | 160 | Chinook Compact 15,000 BTU modulating, 1/3 HP, 95% AFUE, 40 to 100% modulating | COND RESULTS
| C15-M-V | 14595 | 800 | 310 | 5838 | 310 | Chinook 15,000 BTU modulating, 1/2 HP, 95% AFUE, 40 to 100% modulating | [8 empty] | #NAME? |  | #NAME? |  | #NAME?
| C15-M-S | 14595 | 1000 | 310 | 5838 | 310 | Chinook 15,000 BTU modulating, 3/4 HP, 95% AFUE, 40 to 100% modulating | 0 | 0 | 0 | 0 | 0 | 0 | 0
| C30-M-V | 28860 | 800 | 480 | 11544 | 310 | Chinook 30,000 BTU modulating, 1/2 HP, 95% AFUE, 40 to 100% modulating | COND-LPD-09 | 9000 | 300 | CC1.5-13.5-V | CC1.5-13.5-M | Indoor cooling coil; 1.5 Ton | Outdoor condensing unit 3/4 Ton 18 SEER, 25 to 100% modulation. Includes Dettson Interface K03081 | B40693-01
| C30-M-S | 28860 | 1200 | 480 | 11544 | 385 | Chinook 30,000 BTU modulating, 3/4 HP, 95% AFUE, 40 to 100% modulating | COND-LPD-12 | 12000 | 400 | CC1.5-13.5-V | CC1.5-13.5-M | Indoor cooling coil; 1.5 Ton | Outdoor condensing unit 1 Ton 18 SEER, 25 to 100% modulation. Includes Dettson Interface K03081 | B40693-01
| C45-M-V | 43515 | 800 | 720 | 17406 | 330 | Chinook 45,000 BTU modulating, 1/2 HP, 95% AFUE, 40 to 100% modulating | COND-LPD-18 | 18000 | 600 | CC1.5-13.5-V | CC1.5-13.5-M | Indoor cooling coil; 1.5 Ton | Outdoor condensing unit 1.5 Ton 18 SEER, 25 to 100% modulation. Includes Dettson Interface K03081 | B40693-01
| C45-M-S | 43515 | 1200 | 720 | 17406 | 330 | Chinook 45,000 BTU modulating, 3/4 HP, 95% AFUE, 40 to 100% modulating | COND-LPD-24 | 24000 | 800 | CC2.5-15,7-V | CC2.5-15.7-M | Indoor cooling coil; 2.5 Ton | Outdoor condensing unit 2 Ton 18 SEER, 25 to 100% modulation. Includes Dettson Interface K03081 | B40693-02
| C60-M-S | 58080 | 1200 | 1025 | 23232 | 430 | Chinook 60,000 BTU modulating, 3/4 HP, 95% AFUE, 40 to 100% modulating | 0 | 24000 | 0 | CC2.5-15,7-V | CC2.5-15.7-M | Indoor cooling coil; 2.5 Ton | 0 | B40693-02
| C75-M-V | 72000 | 1200 | 1200 | 28800 | 480 | Chinook 75,000 BTU modulating, 3/4 HP, 95% AFUE, 40 to 100% modulating | 0 | 0 | 0 | CC3.0-15,7-V | CC3.0-15,7-M | Indoor cooling coil; 3 Ton | 0 | B40693-02
ALIZE MODELS
[8 empty] | Outdoor Cooling unit Model | Cooling capacity (BTU/h) | Max CFM @400cfm/Ton |  |  |  | Description
[8 empty] | COND-09 | 9000 | 300 |  |  |  | Outdoor condensing unit 3/4 Ton 27 SEER, 25 to 100% modulation. Includes Dettson Interface K03081
[8 empty] | COND-OCD-12 | 12000 | 400 | 0 | 0 | 0 | Outdoor condensing unit 1 Ton 22 SEER, 25 to 100% modulation. Includes Dettson Interface K03081
[8 empty] | COND-OCD-18 | 18000 | 600 | 0 | 0 | 0 | Outdoor condensing unit 1.5 Ton 20 SEER, 25 to 100% modulation. Includes Dettson Interface K03081
[8 empty] | COND-OCD-24 | 24000 | 800 | 0 | 0 | 0 | Outdoor condensing unit 2 Ton 20 SEER, 25 to 100% modulation. Includes Dettson Interface K03081
[8 empty] | COND-30 | 30000 | 1000 |  |  |  | Outdoor condensing unit 2 1/2 Ton 16 SEER, 25 to 100% modulation. Includes Dettson Interface K03081
[8 empty] | COND-36 | 36000 | 1200 |  |  |  | Outdoor condensing unit 3 Ton 16 SEER, 25 to 100% modulation. Includes Dettson Interface K03081
OCD MODELS
[8 empty] | Outdoor Cooling unit Model | Cooling capacity (BTU/h) | Max CFM @400cfm/Ton |  |  |  | Description
HydroMax VHB |  |  |  |  | HM_MAX_CFM | 1600 |  | COND-OCD-09 | 9000 | 300 |  |  |  | Outdoor condensing unit 3/4 Ton 23 SEER, 25 to 100% modulation. Includes Dettson Interface K03081
| HydroMaxVHB504 | 50000 | 1200 | 1200 |  |  | HydroMax 50,000 BTU/h | COND-OCD-12 | 12000 | 400 |  |  |  | Outdoor condensing unit 1 Ton 22 SEER, 25 to 100% modulation. Includes Dettson Interface K03081
[8 empty] | COND-OCD-18 | 18000 | 600 |  |  |  | Outdoor condensing unit 1.5 Ton 20 SEER, 25 to 100% modulation. Includes Dettson Interface K03081
[8 empty] | COND-OCD-24 | 24000 | 800 |  |  |  | Outdoor condensing unit 2 Ton 20 SEER, 25 to 100% modulation. Includes Dettson Interface K03081
[8 empty] | COND-OCD-30 | 30000 | 1000 |  |  |  | Outdoor condensing unit 2 1/2 Ton 18 SEER, 25 to 100% modulation. Includes Dettson Interface K03081
[8 empty] | COND-OCD-36 | 36000 | 1200 |  |  |  | Outdoor condensing unit 3 Ton 18 SEER, 25 to 100% modulation. Includes Dettson Interface K03081
HydroMax VHS | HydroMaxVHS504 | 50000 | 1200 | 1200 |  |  | HydroMax 50,000 BTU/h (modulating pump)
LPD MODELS
[8 empty] | Outdoor Cooling unit Model | Cooling capacity (BTU/h) | Max CFM @400cfm/Ton |  |  |  | Description
[8 empty] | COND-LPD-09 | 9000 | 300 |  |  |  | Outdoor condensing unit 3/4 Ton 18 SEER, 25 to 100% modulation. Includes Dettson Interface K03081
[8 empty] | COND-LPD-12 | 12000 | 400 |  |  |  | Outdoor condensing unit 1 Ton 18 SEER, 25 to 100% modulation. Includes Dettson Interface K03081
[8 empty] | COND-LPD-18 | 18000 | 600 |  |  |  | Outdoor condensing unit 1.5 Ton 18 SEER, 25 to 100% modulation. Includes Dettson Interface K03081
[8 empty] | COND-LPD-24 | 24000 | 800 |  |  |  | Outdoor condensing unit 2 Ton 18 SEER, 25 to 100% modulation. Includes Dettson Interface K03081
24000
UHD MODELS
[8 empty] | Outdoor Cooling unit Model | Cooling capacity (BTU/h) | Max CFM @400cfm/Ton |  |  |  | Description
[8 empty] | COND-UHD-09 | 9000 | 300 |  |  |  | Outdoor condensing unit 3/4 Ton 38 SEER, 25 to 100% modulation. Includes Dettson Interface K03081
[8 empty] | COND-UHD-12 | 12000 | 400 |  |  |  | Outdoor condensing unit 1 Ton 30 SEER, 25 to 100% modulation. Includes Dettson Interface K03081
[8 empty] | COND-UHD-18 | 18000 | 600 |  |  |  | Outdoor condensing unit 1.5 Ton 24 SEER, 25 to 100% modulation. Includes Dettson Interface K03081
[8 empty] | COND-UHD-24 | 24000 | 800 |  |  |  | Outdoor condensing unit 2 Ton 21 SEER, 25 to 100% modulation. Includes Dettson Interface K03081
24000
Note on B13: Danny Serres: Pour écouler moteurs M-S Les valeurs restent celles de la M-V, car M-S plus faible en chauffage. Aucun intérêt à plus en max.

## _EquipmentList (hidden)
Heating
Air Handler Model | Max. Heating capacity (BTU/h) | Max CFM (1.7'' w.c.) | Max CFM (heating) | Min. Heating capacity (BTU/h) | Lowest CFM (heating) | Description
| 0 | 0 | 0 | 0 | 0
CC15-M-V | 14445 | 400 | 400 | 5778 | 160 | Chinook Compact 15,000 BTU modulating, 1/3 HP, 95% AFUE, 40 to 100% modulating
C15-M-V | 14595 | 800 | 310 | 5838 | 310 | Chinook 15,000 BTU modulating, 1/2 HP, 95% AFUE, 40 to 100% modulating
C15-M-S | 14595 | 1000 | 310 | 5838 | 310 | Chinook 15,000 BTU modulating, 3/4 HP, 95% AFUE, 40 to 100% modulating
C30-M-V | 28860 | 800 | 480 | 11544 | 310 | Chinook 30,000 BTU modulating, 1/2 HP, 95% AFUE, 40 to 100% modulating
C30-M-S | 28860 | 1200 | 480 | 11544 | 385 | Chinook 30,000 BTU modulating, 3/4 HP, 95% AFUE, 40 to 100% modulating
C45-M-V | 43515 | 800 | 720 | 17406 | 330 | Chinook 45,000 BTU modulating, 1/2 HP, 95% AFUE, 40 to 100% modulating
C45-M-S | 43515 | 1200 | 720 | 17406 | 330 | Chinook 45,000 BTU modulating, 3/4 HP, 95% AFUE, 40 to 100% modulating
C60-M-S | 58080 | 1200 | 1025 | 23232 | 430 | Chinook 60,000 BTU modulating, 3/4 HP, 95% AFUE, 40 to 100% modulating
C75-M-V | 72000 | 1200 | 1200 | 28800 | 480 | Chinook 75,000 BTU modulating, 3/4 HP, 95% AFUE, 40 to 100% modulating
Cooling
Outdoor Cooling unit Model | Cooling capacity (BTU/h) | Max CFM @400cfm/Ton | Coil Vertical | Coil Multiposition | Coil description | Description | Evaporator support
| 0 |  |  | 0
COND-LPD-09 | 9000 | 300 | CC1.5-13.5-V | CC1.5-13.5-M | Indoor cooling coil; 1.5 Ton | Outdoor condensing unit 3/4 Ton 18 SEER, 25 to 100% modulation. Includes Dettson Interface K03081 | B40693-01
COND-LPD-12 | 12000 | 400 | CC1.5-13.5-V | CC1.5-13.5-M | Indoor cooling coil; 1.5 Ton | Outdoor condensing unit 1 Ton 18 SEER, 25 to 100% modulation. Includes Dettson Interface K03081 | B40693-01
COND-LPD-18 | 18000 | 600 | CC1.5-13.5-V | CC1.5-13.5-M | Indoor cooling coil; 1.5 Ton | Outdoor condensing unit 1.5 Ton 18 SEER, 25 to 100% modulation. Includes Dettson Interface K03081 | B40693-01
COND-LPD-24 | 24000 | 800 | CC2.5-15,7-V | CC2.5-15.7-M | Indoor cooling coil; 2.5 Ton | Outdoor condensing unit 2 Ton 18 SEER, 25 to 100% modulation. Includes Dettson Interface K03081 | B40693-02
0 | 24000 | 0 | CC2.5-15,7-V | CC2.5-15.7-M | Indoor cooling coil; 2.5 Ton | 0 | B40693-02
0 | 0 | 0 | CC3.0-15,7-V | CC3.0-15,7-M | Indoor cooling coil; 3 Ton | 0 | B40693-02

## _Lengths (hidden)
WARNING: DO NOT EDIT ANY OF THE CELLS IN THIS SHEET UNLESS YOU KNOW WHAT YOU ARE DOING
[9 empty] | Orig Len | L1 | L2 | L3 | Leftover
| Per box: | 8 |  |  |  |  | Possible cuts: | A | 25 | 25 | 0 | 0 | 0
[8 empty] | B | 15 | 15 | 0 | 0 | 0 |  |  |  |  | CUTS
| 7': | 0 | [5 empty] | C | 15 | 7 | 7 | 0 | 1
| 15': | 0 | [5 empty] | D | 25 | 15 | 7 | 0 | 3 |  |  |  |  | Length of each cut = total used --> loss |  |  |  |  | Length of each cut = total used --> loss |  |  |  |  | Length of each cut = total used --> loss
| 25': | 0 | [5 empty] | E | 25 | 7 | 7 | 7 | 4 |  |  | A | 0 | 25 = 25 --> 0 | [7 empty] | FALSE | #VALUE!
[8 empty] | F | 25 | 15 | 0 | 0 | 10 |  |  | D | 0 | 25 = 15 + 7 --> 3 | [7 empty] | FALSE | #VALUE!
| TOTAL: | 0 | [5 empty] | G | 25 | 7 | 0 | 0 | 18 |  |  | E | 0 | 25 = 7 + 7 + 7 --> 4 | [7 empty] | FALSE | #VALUE!
[8 empty] | H | 15 | 7 | 0 | 0 | 8 |  |  | F | 0 | 25 = 15 --> 10 | [7 empty] | FALSE | #VALUE!
[8 empty] | I | 25 | 7 | 7 | 0 | 11 |  |  | I | 0 | 25 = 7 + 7 --> 11 | [7 empty] | FALSE | #VALUE!
[16 empty] | G | 0 | 25 = 7 --> 18 | [7 empty] | FALSE | #VALUE!
Refer to document X01336 for information on how the lengths are computed. | [15 empty] | B | 0 | 15 = 15 --> 0 | [7 empty] | FALSE | #VALUE!
[7 empty] | TOTAL | [8 empty] | C | 0 | 15 = 7 + 7 --> 1 | [7 empty] | FALSE | #VALUE!
[9 empty] | A | 0 | [5 empty] | H | 0 | 15 = 7 --> 8 | [7 empty] | FALSE | #VALUE!
[9 empty] | B | 0 | [15 empty] | FALSE | #VALUE!
[9 empty] | C | 0 | [16 empty] | #VALUE!
[9 empty] | D | 0 | [16 empty] | #VALUE!
[9 empty] | E | 0
[9 empty] | F | 0
[9 empty] | G | 0
[9 empty] | H | 0
[9 empty] | I | 0
[9 empty] | TOTAL 25' | 0
[9 empty] | TOTAL 15' | 1
Possible D | 0
Min losses: | 105 |  | Line: | 38
Min cuts: | 0
[8 empty] | x_1 | x_2 | x_3 | x_4 | x_5 | x_6 | x_7 | x_8 | x_9 |  |  |  | v | w | s | t | P_m | P_n |  |  | ψ_P |  | ψ_D
Constraint case # | B Active | C Active | D Active | E Active | H Active | I Active |  | A | B | C | D | E | F | G | H | I |  | 15' | 25' | Extra 15' | Extra 25' | Total 15' | Total 25' | Box losses 15' | Box losses 25' | Total losses | Valid Case | Result Losses | Cuts | Result Cuts
0 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
1 | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
2 | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
3 | TRUE | TRUE | FALSE | FALSE | FALSE | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
4 | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
5 | TRUE | FALSE | TRUE | FALSE | FALSE | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
6 | FALSE | TRUE | TRUE | FALSE | FALSE | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
7 | TRUE | TRUE | TRUE | FALSE | FALSE | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
8 | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
9 | TRUE | FALSE | FALSE | TRUE | FALSE | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
10 | FALSE | TRUE | FALSE | TRUE | FALSE | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
11 | TRUE | TRUE | FALSE | TRUE | FALSE | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
12 | FALSE | FALSE | TRUE | TRUE | FALSE | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
13 | TRUE | FALSE | TRUE | TRUE | FALSE | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
14 | FALSE | TRUE | TRUE | TRUE | FALSE | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
15 | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
16 | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
17 | TRUE | FALSE | FALSE | FALSE | TRUE | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
18 | FALSE | TRUE | FALSE | FALSE | TRUE | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
19 | TRUE | TRUE | FALSE | FALSE | TRUE | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
20 | FALSE | FALSE | TRUE | FALSE | TRUE | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
21 | TRUE | FALSE | TRUE | FALSE | TRUE | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
22 | FALSE | TRUE | TRUE | FALSE | TRUE | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
23 | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
24 | FALSE | FALSE | FALSE | TRUE | TRUE | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
25 | TRUE | FALSE | FALSE | TRUE | TRUE | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
26 | FALSE | TRUE | FALSE | TRUE | TRUE | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
27 | TRUE | TRUE | FALSE | TRUE | TRUE | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
28 | FALSE | FALSE | TRUE | TRUE | TRUE | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
29 | TRUE | FALSE | TRUE | TRUE | TRUE | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
30 | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
31 | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
32 | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
33 | TRUE | FALSE | FALSE | FALSE | FALSE | TRUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
34 | FALSE | TRUE | FALSE | FALSE | FALSE | TRUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
35 | TRUE | TRUE | FALSE | FALSE | FALSE | TRUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
36 | FALSE | FALSE | TRUE | FALSE | FALSE | TRUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
37 | TRUE | FALSE | TRUE | FALSE | FALSE | TRUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
38 | FALSE | TRUE | TRUE | FALSE | FALSE | TRUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
39 | TRUE | TRUE | TRUE | FALSE | FALSE | TRUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
40 | FALSE | FALSE | FALSE | TRUE | FALSE | TRUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
41 | TRUE | FALSE | FALSE | TRUE | FALSE | TRUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
42 | FALSE | TRUE | FALSE | TRUE | FALSE | TRUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
43 | TRUE | TRUE | FALSE | TRUE | FALSE | TRUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
44 | FALSE | FALSE | TRUE | TRUE | FALSE | TRUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
45 | TRUE | FALSE | TRUE | TRUE | FALSE | TRUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
46 | FALSE | TRUE | TRUE | TRUE | FALSE | TRUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
47 | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
48 | FALSE | FALSE | FALSE | FALSE | TRUE | TRUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
49 | TRUE | FALSE | FALSE | FALSE | TRUE | TRUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
50 | FALSE | TRUE | FALSE | FALSE | TRUE | TRUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
51 | TRUE | TRUE | FALSE | FALSE | TRUE | TRUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
52 | FALSE | FALSE | TRUE | FALSE | TRUE | TRUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
53 | TRUE | FALSE | TRUE | FALSE | TRUE | TRUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
54 | FALSE | TRUE | TRUE | FALSE | TRUE | TRUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
55 | TRUE | TRUE | TRUE | FALSE | TRUE | TRUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
56 | FALSE | FALSE | FALSE | TRUE | TRUE | TRUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
57 | TRUE | FALSE | FALSE | TRUE | TRUE | TRUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
58 | FALSE | TRUE | FALSE | TRUE | TRUE | TRUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
59 | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
60 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
61 | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
62 | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0
63 | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0 | 1 | 0 | 105 | 0 | 105 | TRUE | 105 | 0 | 0

## _BOM (hidden)
HVAC in a Box bill of material; Right Sized System in combination to the Smart Duct
Product | Product Code: | Units Required: | Description:
Air Handler | #NAME? | 1 | #NAME?
Alizé heat pump
A-coil
A-coil base
Thermostat | R02P032 | 1 | Communicating Thermostat
Smart Duct 15' | Z13I012 | 1 | 15ft of flex duct 2.5 dia.
Smart Duct 25' | Z13I008 | 0 | 25ft of flex duct 2.5 dia.
Saddle 90 deg | B40899 | 0 | To connect Flex Smart Duct to a round trunk
6'' Saddle 45 deg | B40858 | 0 | To connect Flex Smart Duct to a 6 in dia. trunk
8'' Saddle 45 deg | B40859 | 0 | To connect Flex Smart Duct to a 8 in dia. trunk
90 deg collar black | B40736 | 0 | Collar attaching the Smart duct to the wall with a 90 deg. Elbow - black
90 deg collar white | B40736-01 | 0 | Collar attaching the Smart duct to the wall with a 90 deg. Elbow - white
Diffusor | B40708 | 0 | Screwed to the collar on the face of the wall
Temporary construction cap | B40759 | 0 | Installed to the collar during construction to prevent debris entering the system
Diffusor Damper | B40896 | 0 | Restricting (blocking) damper
Bottom return furnace base (optional) | #NAME? | 1 | Bottom Return Base
Downflow base
Zoning system
Zoning distribution box
* NOTE: FREIGHT CHARGES WILL BE ADDED TO THE ORDER.
PACKAGING OF THE FLEX DUCT MATERIAL IS IN BOXES OF EIGHT (8) LENGTHS X 15 OR 25FT. SHIPPING ORDERS ARE MULTIPLES OF EIGHT (8).
For saddles, Smart ducts, collars and diffusors, 10% more matl is added than required in case of damaged material on job site.
Length of each cut = total used --> loss
Note on C13: Enter the number of 45 deg saddles desired. The number of 90 deg saddles will be adjusted automatically.
Note on C14: Enter the number of 45 deg saddles desired. The number of 90 deg saddles will be adjusted automatically.
Note on C16: Enter the number of white collars desired. The number of black collars will be adjusted automatically.

## _Formatting (hidden)
WARNING: DO NOT EDIT ANY OF THE CELLS IN THIS SHEET UNLESS YOU KNOW WHAT YOU ARE DOING
INDOOR UNIT
Model: | #NAME?
Description: | #NAME?
Orientation: | Upflow
Max. heating capacity (BTH/h) | #NAME? |  | FORMATTING DESIGN SHEET (FOR REPORT) |  |  |  | Formatting Trunks | [7 empty] | Formatting BOM
Min. heating capacity (BTU/h) | #NAME? | #NAME? |  |  |  |  | Trunk | Diameter | TOTAL CFM | Max CFM/trunk | Length (feet) | Elbow (90°) | Elbow (45°) | Equivalent length
Max. System CFM | #NAME? | [13 empty] | Product | Product Code: | Units Required: | Description:
Max. CFM (heating) | #NAME? |  |  |  |  | Title row? | [8 empty] | Air Handler |  | 1
Min. CFM (heating) | #NAME? | #NAME? | 0 |  | 680 | 0 | [8 empty] | Thermostat | R02P032 | 1 | Communicating Thermostat
Important Settings: |  |  | 0 |  | #VALUE! | 0 | [8 empty] | Smart Duct 15' | Z13I012 | 1 | 15ft of flex duct 2.5 dia.
: |  |  | 0 |  | #VALUE! | 0 | [8 empty] | Bottom return furnace base (optional) |  | 1 | Bottom Return Base
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
Zoning: |  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
OUTDOOR UNIT |  |  | 0 |  | #VALUE! | 0
Model: | #N/A |  | 0 |  | #VALUE! | 0
Description: |  |  | 0 |  | #VALUE! | 0
Max CFM: | 0 |  | 0 |  | #VALUE! | 0
Important Settings: |  |  | 0 |  | #VALUE! | 0 | FALSE |  | #VALUE!
CFM/Ton: | 400 |  | 0 |  | #VALUE! | 0 | FALSE |  | #VALUE!
|  |  | 0 |  | #VALUE! | 0 | FALSE |  | #VALUE!
|  |  | 0 |  | #VALUE! | 0 | FALSE |  | #VALUE!
|  |  | 0 |  | #VALUE! | 0 | FALSE |  | #VALUE!
|  |  | 0 |  | #VALUE! | 0 | FALSE |  | #VALUE!
|  |  | 0 |  | #VALUE! | 0 | FALSE |  | #VALUE!
|  |  | 0 |  | #VALUE! | 0 | FALSE |  | #VALUE!
|  |  | 0 |  | #VALUE! | 0 | FALSE |  | #VALUE!
|  |  | 0 |  | #VALUE! | 0 | [8 empty] | TRUE | 5 | 5
|  |  | 0 |  | #VALUE! | 0 | [8 empty] | FALSE |  | 9
|  |  | 0 |  | #VALUE! | 0 | [8 empty] | FALSE |  | 10
|  |  | 0 |  | #VALUE! | 0 | [8 empty] | FALSE |  | 20
|  |  | 0 |  | #VALUE! | 0 | [8 empty] | TRUE | 9 | #VALUE!
|  |  | 0 |  | #VALUE! | 0 | [8 empty] | TRUE | 10 | #VALUE!
|  |  | 0 |  | #VALUE! | 0 | [8 empty] | FALSE |  | #VALUE!
|  |  | 0 |  | #VALUE! | 0 | [8 empty] | FALSE |  | #VALUE!
|  |  | 0 |  | #VALUE! | 0 | [8 empty] | FALSE |  | #VALUE!
|  |  | 0 |  | #VALUE! | 0 | [8 empty] | FALSE |  | #VALUE!
|  |  | 0 |  | #VALUE! | 0 | [8 empty] | FALSE |  | #VALUE!
|  |  | 0 |  | #VALUE! | 0 | [8 empty] | FALSE |  | #VALUE!
|  |  | 0 |  | #VALUE! | 0 | [8 empty] | FALSE |  | #VALUE!
|  |  | 0 |  | #VALUE! | 0 | [8 empty] | FALSE |  | #VALUE!
|  |  | 0 |  | #VALUE! | 0 | [8 empty] | FALSE |  | #VALUE!
|  |  | 0 |  | #VALUE! | 0 | [8 empty] | TRUE | 20 | #VALUE!
|  |  | 0 |  | #VALUE! | 0 | [8 empty] | FALSE |  | #VALUE!
|  |  | 0 |  | #VALUE! | 0 | [8 empty] | FALSE |  | #VALUE!
|  |  | 0 |  | #VALUE! | 0 | [8 empty] | FALSE |  | #VALUE!
|  |  | 0 |  | #VALUE! | 0 | [8 empty] | FALSE |  | #VALUE!
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 0 |  | #VALUE! | 0
|  |  | 1 | 680 | #VALUE! | 0

## _History (hidden)
|  | V6.4 2022-04-19 | 2022-04-19 | yyyy-04-dd | 2022-04-19
|  |  | V6.4 | #VALUE! | 44670
|  |  |  | FALSE | TRUE
Date | Version | Changes
2022-04-19
2017-06-21 | V3.0 | Revision tracking started
Auto-BOM with zoning
2017-06-21 | V3.1 | Auto Handle heating only
2017-07-04 | V3.2 | Fix CFM calcs for zone #4
2018-03-15 | V3.3 | Heating CFM Max revision
R02P032 for communicating thermostat
2018-03-29 | V3.4 | Modify max CFM at 1.7 for C45-M-S to be 1000 rather than 978 to give the opportunity to have 2.5t of cooling
2018-05-01 | V4.0 | SUP compact
DCAH and Modular Blower models added for future use
Remove C60-M-S and C75-M-S
Remove flat collar in BOM
80%-100% cooling option with zoned system
Lengths of 7' 15' and 25' only
Add BOM entry for 7' Smart Duct runs
Increase Max CFM of C30 & C45 to allow more cooling (350CFM/TON)
Must use communicating thermostat with Chinook (for CFM Fan ON)
2018-05-03 | V4.1 | Fix cells section line 163 CFM formula issue
2018-05-04 | V4.2 | Improved flex cuts calculation
Fix saddle count
2018-06-22 | V4.3 | Remove -01 -02 after COND units
2018-08-10 | V4.4 | Fix bad length error message
New distribution box part numbers
2018-11-05 | V4.5 | Add white collars & 45° saddles
2018-12-14 | V4.6 | Fix minimum cooling capacity for 60k & 75k units
Fix BOM for thermostats with zoning
2019-04-09 | V4.7 | Replace C60-M-V with C60-M-S model
2019-10-31 | V4.8 | Replace restrictor cap with new restrictor damper
Fix COND-09 part number
2019-12-05 | V5.0 | Remove all macros
Add 2-V models
Remove unused tabs
2 Stage thermostat is now R02P033
2020-02-20 | V5.1 | Correct 40% heating CFM in the CC15-M-V to be 130 CFM
2020-06-30 | V5.2 | Fix BOM for Smart Duct lenghts
2020-08-27 | V5.3 | Add comments and added the NOTES tab
2020-09-25 | V5.4 | Fix Distribution Box P/N display in BOM
2020-11-17 | V5.5 | Add HydroMax models
2020-12-15 | V5.6 | HydroMax Fan Ratio setting
HydroMax BOM fixes
Fix SUP non-compact selection
2020-12-17 | V5.7 | Add note for settings to be applied
Rename furnace to Air Handler
2021-01-28 | V5.8 | Fix equipment selection SUPREME
2021-02-18 | V5.9 | Fix equipment selection CHINOOK
2021-03-09 | V5.10 | BOM: Universal 90 deg saddle
2021-04-12 | V5.11 | Replace COND-12 with COND-OCD-12
2021-04-19 | V5.12 | Replace COND-24 with COND-OCD-24
2021-11-03 | V5.14 | Replace COND-18 with COND-OCD-18
Fix CC3.0 description
2021-11-30 | V6.0 | Split old calculator tab in simpler tabs
Add 2 rooms per zone
Never allow Supreme Compact (not available)
ODU as primary heat allowed on all-electric systems
Add LPD, OCD and UHD as ODU options
Report page
Fix Lengths calculator (rare issues)
Update Chinook CFM table
Add C30-2-V
2022-02-10 | V6.1 | Display Total CFM at top of Design sheet
2022-03-07 | V6.2 | Change color for trunks 6 & 7
Remove default Latent load
2022-04-13 | V6.3 | New lenghts calculation implementation for better optimization
2022-04-19 | V6.4 | Review lenghts calculation